|  |  | BACKFLOW PREVENTER INSPECTION & TEST REPORT EWU CCC Form |
| --- | --- | --- |

#### PWS ID:   219009               WATER SYSTEM NAME:   Eastern Washington University                COUNTY:   Spokane

## GROUP:   A         TYPE:   Commercial           WIRA:   56          OWNER NO.:   1656          TEST REPORT ID ____________________

CCC CONTACT PERSON:  Joe Gregerson      PHONE: (509) 359-6561        FAX: (509) 359-4671

FACILITY:  _________________________________________________________________________   STATE  AUXILIARY  

LOCATION OF PREVENTER

PROTECTION INSTALLATION:   DOMESTIC FIRE  IRRIGATION  HYDRONIC  OTHER:_________________  

DOWNSTREAM PROCESS 	 DCVA  RPBA  PVBA  OTHER __________

NEW INSTALLATION      EXISTING       REPLACEMENT      OLD ASSEMBLY SERIAL NO/ID ____________________

MAKE OF ASSEMBLY:  	       MODEL:  	  SERIAL NO.:  __________________________SIZE:  ______

# DOH/USC APPROVAL:  Currently Approved      Not Currently, but was Approved When Installed       Never Approved  

| INITIAL TEST PASSED  FAILED  IMPROPERLY INSTALLED  | DCVA / RPBA CHECK VALVE NO.1 LEAKED …………..  CLOSED TIGHT ….  ________________PSID | DCVA / RPBA CHECK VALVE NO.2 LEAKED …………...  CLOSED TIGHT …..  _________________PSID | RPBA RELIEF VALVE OPENED AT _____ PSID #1 CHECK _______PSID AIR GAP OK? _______ | PVBA/SVBA AIR INLET OPENED AT______PSID DID NOT OPEN …..  CHECK VALVE HELD AT _______PSID LEAKED ……….…..  |
| --- | --- | --- | --- | --- |
| NEW PARTS AND REPAIRS RE-INSTALLED PROPERLY  | CLEAN REPLACE PART   ________   ________   ________   ________ | CLEAN REPLACE PART   ________   ________   ________   ________ | CLEAN REPLACE PART   ________   ________   ________   ________ | CLEAN REPLACE PART   ________   ________   ________   ________ |
| TEST AFTER REPAIRS PASSED  | CLOSED TIGHT ….  ________________PSID | CLOSED TIGHT ….  ________________PSID | OPENED AT _____PSID #1 CHECK_______PSID | AIR INLET ______ PSID CHK VALVE _____PSID |

AIR GAP INSPECTION:  Required Separation Provided?  Yes No       DETECT. METER READING ________________________

AVB INSPECTION:   Properly Installed?  Yes No             Air Inlet Opened?     Yes No 

REMARKS: ______________________________________________________________________________________________________

__________________________________________________________________________________LINE PRESSURE ____________PSIG

##### I certify that this test was done in accordance with DOH procedures and this report is accurate and correct to the best of my knowledge.

TESTERS SIGNATURE _______________________________________ CERT. NO. ______________________DATE _____/_____/_________

# TESTERS NAME PRINTED _____________________________________________ TESTERS PHONE #  (______) _______-______________

REPAIRED BY _______________________________________________________________________________DATE _____/_____/_________

(SPECIALTY) PLUMBER CERT. NO. _______________________  CONTRACTOR LICENSE NO. _________________________________

FINAL TEST BY	           CERT. NO. _________________DATE _____/_____/____________

GAUGE # ________________  CALIB/VERIF DATE   _____/_____/________  SERVICE RESTORED    YES      NO  

##### I acknowledge that the above report has been discussed with me and that I have received a copy of this report.

CONTRACTOR SIGNATURE _____________________________________________________________ DATE _____/_____/_________

I certify that this report is accurate, and I have used WAC 246-290-490 approved test methods and test equipment.